## UPDATED - MF
Multi-Family Residential New Construction
|  | Certification Checklist | Please indicate:
Project Address |  |  | ¨ | Preliminary checklist (for enrollment)
Company Name |  |  | ¨ | Final checklist (for certification review)
Check items you will be including in this project to qualify for a BUILT GREEN® star rating. Version 2009
Action Item Number | Possible Points | CREDITS | Total Points | Comments
TWO-STAR REQUIREMENTS (200 points minimum)
| required | Program Orientation (one time only) | ê
| required | 3rd party verification required | ê
| required | Section 1: Build to Program Requirements and Green Codes / Regulations | ê
| required | Achieve 30 points from each section | ê
THREE-STAR REQUIREMENTS (300 points minimum)
| required | Meet 2-Star requirements | ê
| required | Achieve a minimum of 40 points from each section | ê
FOUR-STAR REQUIREMENTS (400 points minimum)
| required | Meet 3-Star requirements | ê
| required | Achieve a minimum of 70 points from each section | ê
Site & Water | required | Amend disturbed soil with compost to a depth of 8 to 10 inches or better than code to restore soil environmental functions (See Action Item 2-17) | ê
Site & Water | required | Landscape with plants appropriate for site topography and soil types, emphasizing use of plants with low watering requirements [drought tolerant] (See Action Item 2-44) | ê
Site & Water | required | Install ALL bathroom faucets with GPM 1.5 or better (See Action Item 2-51) | ê
Site & Water | required | Install ALL showerheads with GPM less than code (See Action Item 2-53) | ê
Energy | required | Building Modeled to have 15% better performance than energy code | ê
Energy | required | Prewire for future PV for all common areas* | ê
IAQ | required | Use only low-VOC /low-toxic interior paints, primers, and finishes for large surface areas (See Action Item 4-31) | ê
IAQ | required | Provide permanently installed track-off mats and/or shoe grates at common entryways to building (See Action Item 4-79) | ê
IAQ | required | Do not install a wood-burning fireplace inside unit or building (See Action Item 4-82) | ê
Materials | required | Practice waste prevention and recycling and buy recycled products (See Action Item 5-1) | ê
FIVE-STAR REQUIREMENTS (600 points minimum)
| required | Meet 4-Star requirements | ê
| required | Achieve a minimum of 100 points from each section | ê
Site & Water | required | Preserve existing native vegetation as landscaping (See Action Item 2-8) | ê
Site & Water | required | Use pervious materials for at least one-third of total area for hardscapes (See Action Item 2-24) | ê
Energy | required | Alternate: Demonstrate building energy performance 30% beyond code per (See Action Item 3-2) | ê
Energy | required | Install LED, Energy Star® compliant fixtures, or demonstrated energy equivalent in units and in common areas (See Action Item 3-67) | ê
IAQ | required | Use plywood and composites of exterior grade with no added urea formaldehyde (for interior use) (See Action Item 4-18) | ê
Materials | required | Achieve a minimum recycling rate of 90% of waste by weight (See Action Item 5-31 for reference) | ê
Materials | required | Use a minimum of 10 materials with recycled content per unit (See Action Items in Section 5) | ê
*exception will be made if PV is installed
SECTION ONE: BUILD TO PROGRAM REQUIREMENTS AND GREEN CODES/REGULATIONS
1-1 | ê | Provide owner with an environmentally friendly operations and maintenance kit | ê
1-2 | ê | Take extra precautions to not dispose of topsoil in lowlands or wetlands | ê
1-3 | ê | When construction is complete, leave no part of the disturbed site uncovered or unstabilized | ê
1-4 | ê | Prepare jobsite recycling plan and post on site | ê
1-5 | ê | If using can lights, use Energy Star® can lights or can lights approved by Washington Energy Code for all can light applications | ê
1-6 | ê | 2-4 Star: Install CO detector for all units (hardwired preferred) with a combustion device or attached garage | ê
1-7 | ê | 5 Star: Install CO detector for all units (hardwired required) with a combustion device | ê
1-8 | ê | Prohibit burying demolition and/or construction waste | ê
1-9 | ê | Dispose of non-recyclable hazardous waste at legally permitted facilities | ê
1-10 | ê | Meet all applicable state and local codes, regulations, and development standards | ê
CODES SECTION TOTALS |  |  | ALL
SECTION TWO: SITE AND WATER
SITE PROTECTION
Overall
2-1 | 10 | Build on an infill lot to take advantage of existing infrastructure and reduce development of virgin sites
2-2 | 10 | Build in a planned Built Green® development
2-3 | 20 | Build on a previously developed site (greyfield or brownfield)
2-4 | 30 | Create a Low Impact Development
2-5 | 5-50 | Meet City of Seattle’s Green Factor standards
2-6 | 5 | For each acre of development, set aside an equal amount of land as a conservation easement or transfer the development rights
|  | Subtotal | 0
Protect Site’s Natural Features
2-7 | 3 | Avoid soil compaction by limiting heavy equipment use to building footprint and construction entrance
2-8 | 3 | Preserve existing native vegetation as landscaping
2-9 | 4 | Retain 30% of trees on site or retain arborist to determine tree retention plan for site
2-10 | 4 | Do not build on or adjacent to sensitive ecological areas: wetlands, shorelines, bluffs, old growth forests, or other critical areas
2-11 | 2 | If building near sensitive ecological areas, limit development footprint and preserve and protect beyond code
2-12 | 5 or 7 or 10 | Restore percentage of site outside the footprint for the life of the building -10% - 20% - 35%
|  | Subtotal | 0
Protect Natural Processes On-Site
2-13 | 2 | Install and maintain temporary erosion control devices that significantly reduce sediment discharge from the site beyond code requirements
2-14 | 3 | Use compost to stabilize disturbed slopes
2-15 | 3 | Retain all native topsoil and protect stockpiles from erosion
2-16 | 3 | Balance cut and fill, while minimizing change to original topography
2-17 | 4 | Amend disturbed soil with compost to a depth of 8 to 10 inches (or better than code) to restore soil environmental functions
2-18 | 2 | Replant or donate removed vegetation for immediate reuse
2-19 | 2 | Use plants salvaged from another site
2-20 | 3 | Grind land clearing wood and stumps for reuse
2-21 | 3 | Use a water management system that allows groundwater to recharge
2-22 | 10 or 20 or 30 | Manage specified percentage of stormwater and building water discharge on site by 60%, 80%, or 100%
|  | Subtotal | 0
Hardscapes
2-23 | 5 or 10 or15 | Design to achieve 50%, 75%, or 90% effective pervious surface outside of building footprint
2-24 | 3 | Use pervious materials for at least one-third of total area for hardscapes
2-25 | 10 or 15 or 25 | Install vegetated roof system (e.g. eco-roof) to reduce impervious surface on 25%, 50%, or 90%+ of total roof surface
2-26 | 1 | Integrate landscaping with parking area beyond code
2-27 | 3 | For an urban infill, replace impervious surfaces with permanent pervious surfaces outside building footprint
|  | Subtotal | 0
Reduce Urban Heat Island Effect
2-28 | 7 | Install a high albedo or light colored roof
2-29 | 7 | Provide shading for 30% of hardscapes by using landscape, landscape features, or overhangs
2-30 | 7 | For all exterior hardscape, including surface parking, use only light colored pavement for 90% of project area
|  | Subtotal | 0
Eliminate Water Pollutants
2-31 | 1 | Wash out concrete trucks in slab or pavement subbase areas
2-32 | 1 | Establish and post clean up procedures for spills to prevent illegal discharges
2-33 | 1 | Reduce hazardous waste through good jobsite housekeeping
2-34 | 2 | Construct tire wash, establish and post clean up protocol for tire wash
2-35 | 2 | Use slow-release organic fertilizers to establish vegetation
2-36 | 2 | Use less toxic form releasers
2-37 | 4 | Provide an infiltration system for rooftop runoff
2-38 | 3 | Use non-toxic or low-toxic outdoor materials for landscaping (e.g. plastic, least-toxic treated wood)
2-39 | 5 | No clearing or grading during wet weather periods
2-40 | 25 or 50 | On-site wastewater treatment for greywater only or for blackwater and greywater
|  | Subtotal | 0
WATER CONSERVATION
Outdoor Conservation
2-41 | 2 | Mulch landscape beds with 2 inches organic mulch
2-42 | 1 | Use grass type requiring less irrigation and minimal maintenance
2-43 | 5 | Limit use of turf grass to 25% or less of landscaped area
2-44 | 10 | No turf grass
2-45 | 5 | Landscape with plants appropriate for site topography and soil types, emphasizing use of plants with low watering requirements (drought tolerant)
2-46 | 5 | Install intelligent irrigation system
2-47 | 2 | Install sub-surface or drip systems for irrigation with timers
2-48 | 10 | Install landscaping that requires no potable water for irrigation whatsoever after initial establishment period (approximately 2 years)
2-49 | 1-15 | Install rainwater collection system (cistern) that reduces water consumption for irrigation by 50% annually
2-50 | 50 | Provide 100% of building and landscaping water use with captured precipitation or reused water purified without the use of chemicals
|  | Subtotal | 0
Indoor Conservation
2-51 | 3 | Install ALL bathroom faucets with GPM 1.5 or better
2-52 | 3 | Install motion-sensor for bathroom faucets - one per unit and in all common areas
2-53 | 3 | Install ALL kitchen faucets with GPM less than code
2-54 | 5 | Install ALL showerheads with GPM less than code
2-55 | 5 | Stub-in plumbing to use greywater for toilet flushing
2-56 | 20 | Use greywater or rainwater for toilet flushing
2-57 | 3 | Provide water sub-metering for each unit
2-58 | 8 | Install high efficiency toilets in highest use area and at least one per unit in all units
2-59 | 2 | Install no-cartridge waterless urinals or 1/8 gallon urinals and high efficiency toilets in all common areas
2-60 | 4 | Install point-source, on-demand (tankless), or recirculation pump hot water systems (where appropriate)
|  | Subtotal | 0
Eliminate Water Pollutants
2-61 | 3 | Develop and provide a building-wide food waste disposal strategy
2-62 | 1 | Do not install garbage disposal
|  | Subtotal | 0
DESIGN ALTERNATIVES
2-63 | 10 | Follow comprehensive integrated design plan for site and structure (as described in the Handbook)
2-64 | 5 | Hold design charette during various stages including pre-design, schematic design, design development, and construction documents
2-65 | 5 | Provide community common areas accessible to all buildng occupants
2-66 | 2 | Take advantage of parking reduction credits that are available in your jurisdiction
2-67 | 5 or 10 | Provide structured parking within the proposed building footprint at a 50% minimum or 100% with no surface parking
|  | Subtotal | 0
TRANSPORTATION
2-68 | 25 | Create a transit-oriented development
2-69 | 4 | Build within ¼ mile of a transit stop or Park and Ride
2-70 | 8+ | Create a "mixed-use" building
2-71 | 2-4 | Provide subsidized bus passes
2-72 | 2 | Provide bicycle lockers or bicycle storage beyond code
2-73 | 2 | Provide bus shelters
2-74 | 5+ | Points for B20 biodiesel or better equipment
2-75 | 5+ | Provide dedicated parking spots for carpool or car-share vehicles
2-76 | 1+ | Provide a hardwire outlet(s) for electric vehicles
2-77 | 2 | Provide a link to community trails
2-78 | 15 | Provide alternative fueling station
|  | Subtotal | 0
TRAINING AND EDUCATION
2-79 | 2 | Prepare an environmentally friendly operations and maintenance plan for common area facilities
2-80 | 2 | Prepare an environmentally friendly landscape operations and maintenance plan
2-81 | 3 | Conduct training sessions for maintenance staff and/or occupants
2-82 | 5 | Provide educational materials designed for the public that highlight the green building features and their performance that are included in the project
|  | Subtotal | 0
EXTRA CREDIT / INNOVATION for Site and Water
2-83 | 1-10 | Extra credit / innovation for Site and Water
|  | Subtotal | 0
|  | SITE & WATER SECTION TOTALS | 0
SECTION THREE: ENERGY EFFICIENCY
3-1 | 5 or 15 | Building systems commissioning beyond code
|  | Subtotal | 0
ENVELOPE
Thermal Performance
3-2 | 10, 20, 30, 40 | Document envelope improvements beyond code (component performance approach) by 10%, 20%, 50%, or 75%
3-3 | 1-70 | Document envelope improvements beyond code minimum (prescriptive approach)
3-4 | 50 | Build a zero net energy building that draws zero outside power or fuel on a net annual basis
3-5 | 5 | Use dense packed cellulose (over 2.5 lbs/inch) or wet blown cellulose or blown in foam
3-6 | 3 | For concrete walls - use perimeter insulation for exterior slab edges
3-7 | 6 | Increase roof insulation 20% beyond code
3-8 | 8 | Participate in a program that provides third-party review and inspection
|  | Subtotal | 0
Air Sealing
3-9 | 3 | Airtight drywall approach for framed structures
3-10 | 3 | Use airtight building method, such as SIP or ICF
3-11 | 3 | Eliminate or airtight seal all air pathways between floors and units
3-12 | 5 or 10 | Conduct blower door test for a sampling of units with results better than 0.30 ACH or 0.25 ACH
|  | Subtotal | 0
Reduce Thermal Bridging
3-13 | 1 | Use rigid insulation as thermal break in headers
3-14 | 1 | Fully insulate corners at intersecting exterior walls
3-15 | 1 | Fully insulate at interior/exterior wall intersection by open cavity framing
3-16 | 3 | Use energy heels of 6 in. or more on trusses and stick frame roofs to allow added insulation over top plate
3-17 | 2 | Use insulated exterior sheathing
3-18 | 5 | Use advanced wall framing - 24-inch OC, with double top plate
|  | Subtotal | 0
Solar Design Features
3-19 | 6 | Passive solar design, basic features installed
3-20 | 12 | Passive solar design, advanced features installed
3-21 | 5 | Model solar design features using approved modeling software
3-22 | 2 | Use landscaping plans that reduce heating/cooling loads naturally
|  | Subtotal | 0
HEATING/COOLING
Distribution
3-23 | 1 | Centrally locate heating / cooling system to reduce the size of the distribution system
3-24 | 3 | Install ceiling fans in all units - minimum one per unit
3-25 | 2 | Use advanced sealing of ducts using low-toxic mastic
3-26 | 10 | Third-party performance air leakage test using prescribed sampling method for each unit type meets certification
3-27 | 5 | Third-party duct test results less than 6% loss of floor area to outside/total flow
3-28 | 2 | All ducts are in conditioned space
3-29 | 4 | Locate heating / cooling equipment inside the conditioned space
|  | Subtotal | 0
Controls
3-30 | 1 | Install thermostat with on-switch for furnace fan to circulate air
3-31 | 1 | Install thermostat with one degree dead-band (electronic or vapor diaphragm) for non-ducted electric heat
3-32 | 2 | Install 60-minute timers or humidistat for bathroom and laundry room fans
3-33 | 2 | Install programmable thermostats
3-34 | 1 | Provide separate switching for bathrooms fan/heat lamp and fan/light combination fixtures
3-35 | 3 | Provide electricity and/or natural gas direct metering for each unit
3-36 | 5 | Install heat systems with separate zones for sleeping and living areas (not including electric resistance heating)
|  | Subtotal | 0
Heat Recovery
3-37 | 7 | Install a heat recovery ventilator or an energy recovery ventilator
|  | Subtotal | 0
Equipment
3-38 | 3 | Select high efficiency heat pumps
3-39 | 3 | Select Energy Star® heating / cooling equipment or equivalent
3-40 | 2 | No gas fireplaces, or use direct vent gas or propane hearth product (AFUE rating)
3-41 | 7 | No air conditioner
3-42 | 5 | Direct use of natural gas, i.e., centralized boiler with hydronic heating system units or units with fan coil system that can do both heating and cooling
3-43 | 10 or15 | Install whole building hydronic heating for heating in all units, point range based on boiler efficiency - 85% or 92%
3-44 | 10 | Install geothermal heat pumps
|  | Subtotal | 0
WATER HEATING
Overall
3-45 | 5 | Install drainwater heat recovery system (DHR)
3-46 | 2 | Install whole building recirculation pump
3-47 | 2 | Passive or on-demand hot water delivery system installed at farthest location from water heater
3-48 | 2 | Install on-demand (tankless) hot water heater
3-49 | 3 | Upgrade electric water efficiency above code
3-50 | 2 or 4 | Upgrade gas or propane water heater efficiency to 0.61 or 0.81
3-51 | 2 | Install the water heater inside the heated space (electric, direct vent, or sealed venting only)
3-52 | 4 | Upgrade electric water heater to an exhaust air heat pump water heater or de-superheater: EF 1.9
3-53 | 3 | Install a timer to regulate standby hot water loss in hot water heater
3-54 | 3 | Ultra high efficiency central water heating
3-55 | 5 | Solar water heating system for common facilities
3-56 | 5 | Install Solar Hot Water Heating
|  | Subtotal | 0
Distribution
3-57 | 2 | Locate water heater within 20 pipe feet of highest use
3-58 | 1 | Insulate all hot water pipes and install cold inlet heat traps on hot water heater
|  | Subtotal | 0
LIGHTING
Natural Light
3-59 | 1 | Light-colored interior finishes
3-60 | 2 | Use clerestory for natural lighting
3-61 | 5 | Maximize daylighting for all units
|  | Subtotal | 0
Efficient Lighting
3-62 | 2 | Install low-mercury T-8 lamps
3-63 | 1 | Halogen lighting substitited for incandescent downlights
3-64 | 3 | Install lighting dimmer, photo cells, timers, and/or motion detectors (interior) for high efficiency fixtures
3-65 | 2 | Install photo cells, timers, motion detectors (exterior) for 90% of fixtures
3-66 | 3-5 | Install LED or Energy Star® compliant CFL bulbs or demonstrated energy equivalent in all units and common areas.
3-67 | 1-10 | Install LED, Energy Star® compliant fixtures, or demonstrated energy equivalent in all units and common areas
3-68 | 5 | Avoid excessive outdoor light levels while maintaining adequate light for security and safe access, meet IESNA Levels
|  | Subtotal | 0
APPLIANCES
3-69 | 4 | Install gas clothes dryer in common laundry or in all units
3-70 | 2 | Install a water-saving, energy-efficient washing machine in all units
3-71 | 5 | Install common laundry facilities instead of in each unit with water-saving, energy-efficient washers
3-72 | 1 | Install a water-saving, energy-efficient dishwasher in all units
3-73 | 2 | Install Energy Star® refrigerator in all units
3-74 | 2 | Install gas stove/cooktop in all units
3-75 | 2 | Install biofuel appliances
3-76 | 2 | Install Energy Star® exhaust fans in all units
|  | Subtotal | 0
ALTERNATIVE ENERGY BONUS POINTS
3-77 | 2-5 | Participate in the local utility’s electricity program for renewable electricity sources
3-78 | 1 | Solar-powered or low-voltage walkway or outdoor area lighting
3-79 | 10 | More than 2% of building powered by photovoltaic
3-80 | 5-25 | Install photovoltaic system, minimum 1 kW
3-81 | 5 or 10 or 25 | Install innovative non-solar renewable power systems that produce a minimum of 15%, 30%, or 50% of the common area's total annual energy
|  | Subtotal | 0
EXTRA CREDIT / INNOVATION for Energy Efficiency
3-82 | 1--10 | Extra credit / innovation for Energy Efficiency
|  | Subtotal | 0
|  | ENERGY EFFICIENCY SECTION TOTALS | 0
SECTION 4: HEALTH AND INDOOR AIR QUALITY
OVERALL
4-1 | 5 | Builder or architect certified to have taken American Lung Association (ALA) of Washington “Healthy House Professional Training” course, or equivalent approved by Director
4-2 | 15 | Certify building under an IAQ program approved by Director
4-3 | 5 | Building is designated non-smoking
4-4 | 2 | Provide tenants or homeowners with maintenance checklists
|  | Subtotal | 0
JOBSITE OPERATIONS
4-5 | 1 | Use less-toxic cleaners
4-6 | 1 | Require workers to use VOC-safe masks when applying VOC containing wet products and N-95 dust masks when generating dust
4-7 | 3 or 5 | Take measures during construction operations to avoid moisture problems later (see Handbook for Basic or Expanded levels)
4-8 | 2 | Take measures to avoid problems due to construction dust by performing all items listed in the handbook
4-9 | 3 | Ventilate during all new wet finish applications
4-10 | 2 | No use of unvented heaters during construction
4-11 | 3 | Clean duct and furnace thoroughly before occupany
4-12 | 2 | Train subs in implementing a healthy building jobsite plan for the project
4-13 | 2 | Cover all duct openings during construction
|  | Subtotal | 0
LAYOUT AND MATERIAL SELECTION
4-14 |  | Inside the building envelope use only low-VOC, low-toxic, water-based, solvent-free sealers, grouts, mortars, drywall mud, caulks, and adhesives for:
4-14a | 2 | Tiling
4-14b | 2 | Framing
4-14c | 4 | Flooring
4-14d | 2 | Plumbing
4-14e | 2 | HVAC
4-14f | 2 | Insulating
4-14g | 2 | Drywalling
4-15 | 5 | Use an alternatiave to fiberglass insulation
4-16 | 3 | Use urea formaldehyde-free insulation or Greenguard certified product
4-17 | 1 | Do not install insulation or carpet padding that contains brominated flame retardant
4-18 | 3 | Use plywood and composites of exterior grade with no added urea formaldehyde (for interior use)
4-19 | 5 | Use only shelving, window trim, door trim, base molding, etc., with no added urea formaldehyde
4-20 | 5 | Install cabinets made with board with no added urea formaldehyde and low-toxic finish
4-21 | 1 | Use pre-finished flooring
4-22 | 3 | Use ceramic tile flooring
4-23 | 18 | Bonus Points: No carpet in units
4-24 | 3 | Limit use of carpet to one-third of unit's square footage
4-25 | 2 | If installing carpet system (carpet, pad, and adhesive), specify CRI Green Label Plus or Greenguard
4-26 | 3 | If using carpet, install by dry method
4-27 | 2 | Install low pile or less allergen-attracting carpet and pad
4-28 | 2 | Install natural fiber carpet
4-29 | 2 | Avoid carpet in environments where it can get wet
4-30 | 2 or 6 | Optimize air quality in family bedrooms to basic or advanced level by completing items listed in handbook
4-31 | 5 | Use only low-VOC / low-toxic interior paints, primers, and finishes for large surface areas
4-32 | 7 | Use only low-VOC / low toxic interior paints and finishes for all surface areas (including doors, windows, trim)
4-33 | 30 | Select materials such that the building is free from the following materials/chemicals: added formaldehyde, halogenated flame retardants, PVC, mercury, CFCs, HCFCs, neoprene (chloroprene), cadmium, chlorinated polyethelene, xylene, tolulene
|  | Subtotal | 0
MOISTURE CONTROL
Overall
4-34 | 4 | Use Building Envelope Consultant during design
4-35 | 1 | Grade to drain away from buildings
4-36 | 4 | Envelope inspection at various stages of envelope installation by a qualified professional
Roof
4-37 | 6 | Provide 50% minimum 2 inch 12 pitch sloped roof surface
4-38 | 10 | Provide 100% minimum 2 inch 12 pitch sloped roof surface
Walls - Above Grade
4-39 | 3 | Provide continuous weather resistive barrier and continuous air seal barrier with manufacturer’s recommended termination (seal or tape)
4-40 | 3 | Use self-adhering membrane flashing and counter-flashing at all inside and outside corners and at exterior siding materials transitions
4-41 | 6 | Install an enhanced drainage plane with an air space to allow ventilation between the weather barrier and cladding and include weep control system
4-42 | 3 or 7 | Use moisture test to ensure that wood framing contains less than 15% moisture content prior to installation of any interior finish
4-43 | 3 | In wood-framed structures, use low-toxic mold-inhibitor product
Below Grade
4-44 | 3 | For slab on grade, use 10 mil polyethylene vapor barrier or equivalent performance, under slab
4-45 | 2 | Perform moisture test for any slab on grade prior to installing any finish to manufacturer’s specifications
4-46 | 2 | Install working mechanical vent system to eliminate potential moisture, methane, and radon problems in crawl space or under slabs on grade
4-47 | 1 | Install a rigid perforated footing drain at foundation perimeter, not connected to roof drain system
4-48 | 3 | Install moisture management system for below grade walls beyond code, i.e., drainage mat
Openings
4-49 | 3 | Provide appropriately sized overhangs at 25% of openings
4-50 | 6 | Provide appropriately sized overhangs on 100% south and/or west side openings
4-51 | 1 | Properly seal building openings and penetrations against moisture and air leaks as specified in handbook
4-52 |  | Install additonal moisture control measures:
4-52a | 1 | sill pans with back dams at windows
4-52b | 7 | door pans with back dams at doors
4-52c | 3 | sill protection at windows
4-52d | 3 | threshold protection at doors
4-52e | 1 | metal head flashing at windows
4-52f | 1 | metal head flashing at doors
4-53 | 3 | Provide hose testing or negative pressurization testing to pre-installed sample of each window type to test assembly for moisture control protection
|  | Subtotal | 0
AIR DISTRIBUTION AND FILTRATION
4-54 | 1 | Provide ideal relative humidity and air circulation to prevent IAQ problems
4-55 | 1 | Ensure ceiling plenums contain no hazardous/unhealthy materials
4-56 | 2 | No stud or joist cavities used as plenums
4-57 | 2 | Do not install electronic, metal mesh, horse hair, or non-pleated fiberglass filters
4-58 | 1 | Make sure air intakes are placed to avoid intake from air pollutant sources that go beyond code
4-59 | 1 | No parking within 40 feet of building air intakes
4-60 |  | Use effective air filter:
4-60a | 1 | Use medium efficiency pleated filter, MERV 10
4-60b | 5 | Use high efficiency pleated filter, MERV 12 or better, or HEPA
4-61 | 2 | Install operable windows in all occupied spaces to allow for cross ventilation and daylighting
4-62 | 3 | Install CO detector (hardwired) for all units with a combustion device
4-63 | 3 | Separately ventilate all janitorial spaces, copy rooms, and chemical storage areas
4-64 | 2 | Install CO2 detectors in community rooms
|  | Subtotal | 0
HVAC EQUIPMENT
4-65 | 1 | Design to ensure accessibility of all system components
4-66 | 1 | Design to prevent standing water in HVAC system
4-67 | 1 | Flow test all spot ventilation fans in units
4-68 | 1 | Use heating system controls that are free of mercury
4-69 | 1 | Limit kitchen exhaust fan to 300 cfm maximum
4-70 | 1 | Install a 60-minute timer or humidistat for bath exhaust fans
4-71 | 2 | Install quiet (≤0.8 sone) bath fan with smooth ducting, minimum 4 inch
4-72 | 1 | Reduced or zero use of ozone-depleting compounds in refrigeration and fire suppression systems
4-73 | 1 | No sound insulation or other fibrous materials installed inside ducting
4-74 | 3 | Install sealed combustion heating and hot water equipment
|  | Subtotal | 0
HEALTH AND INDOOR AIR QUALITY
4-75 | 1 | Build a lockable storage closet for hazardous cleaning and maintenance products, separate from occupied space
4-76 | 1 | Install biodegradable carbon filter at sink
4-77 | 3 | Install showerhead filter in all units, include information in the tenent handbook
4-78 | 3 | Provide permanently installed track-off mats and/or shoe grates at common entryways to building
4-79 | 2 | Provide track-off mats at exterior unit main entrances to each unit and a shoe storage area
4-80 | 3 | Design a shoe removal vestibule at major entrances to units
4-81 | 3 | Do not install a wood-burning fireplace inside unit or building
4-82 | 1 | Do not install gas-burning appliances inside unit or building
4-83 | 1 | Install floor drain or catch basin with drain under washing machine
|  | Subtotal | 0
EXTRA CREDIT / INNOVATION for Health and Indoor Air Quality
4-84 | 1-10 | Extra credit / innovation for Health and Indoor Air Quality
|  | Subtotal | 0
|  | HEALTH AND INDOOR AIR QUALITY SECTION TOTALS | 0
SECTION FIVE: MATERIALS EFFICIENCY
OVERALL
5-1 | 10 | Practice waste prevention and recycling and buy recycled products
5-2 | 5 or 7 or 9 | Design and build for deconstruction concept - 50%, 75%, or 90%
5-3 | 1-5 | Eliminate materials and systems that require finishes or finish materials on a minimum of 100 square feet in common areas- 1 pt per 100 sf - 5 pts max
|  | Subtotal | 0
JOBSITE OPERATIONS
5-4 | 3 | Provide weather protection for stored materials
5-5 | 1 | Substitute products that require solvent-based cleaning methods with solvent-free or water-based methods
5-6 | 5 | Purchase a one-time carbon offset to account for construction carbon footprint
|  | Subtotal | 0
Reduce
5-7 | 2 | Create detailed take-off and provide as cut list to framer
5-8 | 2 | Use central cutting area or cut packs
5-9 | 3 | Require subcontractors and contractor’s employees to participate in waste reduction efforts
|  | Subtotal | 0
Reuse
5-10 | 2 or 10 or 20 | Use deconstruction to dismantle and reuse existing building(s) on site
5-11 | 1 | Sell or give away wood scraps, lumber and land clearing debris
5-12 | 1 | Donate, give away, or sell reusable finish items
5-13 |  | Re-use materials:
5-13a | 1 | doors
5-13b | 1 | flooring
5-13c | 1 | windows
5-13d | 1 | appliances
5-13e | 1 | fixtures
5-13f | 1 | hardware
5-13g | 1 | cabinets
5-13h | 1 | siding
5-13i | 1 | decking
5-13j | 1 | trim
5-13k | 2 | framing lumber
5-14 | 1-10 | Bonus points for reuse of salvaged materials
|  | Subtotal | 0
Recycle
Source Separation Recycling
5-15 | 1 | Recycle cardboard by source separation, 90% minimum recycling rate
5-16 | 2 | Recycle metal scraps by source separation, 90% minimum recycling rate
5-17 | 5 | Recycle clean scrap wood and broken pallets by source separation, 90% minimum recycling rate
5-18 | 2 | Recycle package wrap and pallet wrap by source separation, 90% minimum recycling rate
5-19 | 3 | Recycle drywall by source separation, 90% minimum recycling rate
5-20 | 2 | Recycle concrete/asphalt rubble, masonry materials, or porcelain by source separation, 90% minimum recycling rate
5-21 | 1 | Recycle paint by source separation, 90% minimum recycling rate
5-22 | 4 | Recycle asphalt roofing by source separation, 90% minimum recycling rate
5-23 | 2 | Recycle carpet padding by source separation, 90% minimum recycling rate
5-24 | 2 | Recycle carpet by source separation, 90% minimum recycling rate
5-25 | 1 | Recycle glass by source separation, 90% minimum recycling rate
5-26 | 3 | Recycle land clearing and yard waste, soil and sod by source separation, 90% minimum recycling rate
5-27 | 1 | Recycle batteries
5-28 | 4 | Commingle recycle at least 50% of remaining jobsite debris, and take to a facility with a minimum recycling rate of 50%
|  | Subtotal | 0
Commingle Recycling
5-29 | 5 or 10 | Send less than 1lb per square foot of gross construction waste to land fill, or less than ½ lb per square foot to land fill (does not include deconstruction)
5-30 | 10 | Send at least 85% of jobsite waste (by weight excluding concrete) to a commingled recycling facility with 50% recycling rate
5-31 | 18 | Send at least 85% of jobsite waste (by weight excluding concrete) to a commingled recycling facility with 75% recycling rate
5-32 | 24 | Send at least 85% of jobsite waste (by weight excluding concrete) to a commingled recycling facility with 90% recycling rate
|  | Subtotal | 0
DESIGN AND MATERIAL SELECTION
Overall
5-33 | 1 | Use standard dimensions in design of structure
5-34 | 10 | Design and install recycling stations on each floor, including a maintenance service plan
5-35 | 1 | Install materials with longer life cycles
5-36 | 1 | Install locally/regionally produced materials
5-37 | 10 | Install locally/regionally produced materials, minimum 5 materials used in all units
5-38 | 5 | Use salvaged lumber, minimum of 1,000 board feet
5-39 | 1 | Use any amount of rapidly renewable building materials and products made from plants harvested within a ten-year cycle or shorter
5-40 | 3 | In three applications, use rapidly renewable building materials and products made from plants harvested within a ten-year cycle or shorter
5-41 | 3 | Use no endangered wood species
5-42 | 2 | Use environmentally preferable products with third-party certifications
5-43 | 3 | Use no PVC or CPVC piping for plumbing or sprinkler within the building envelope
|  | Subtotal | 0
Framing
5-44 | 10 | Use dimensional lumber that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-45 | 6 | Use dimensional lumber that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-46 | 7 | Use sheathing that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-47 | 4 | Use sheathing that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-48 | 5 | Use beams that are third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-49 | 3 | Use beams that are third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-50 | 3 | Use factory framed wall panels (panelized wall construction)
5-51 | 3 | Use engineered structural products and use no 2xs larger than 2x8, and no 4xs larger than 4x8
5-52 | 1 | For interior walls, use steel studs with minimum 50% recycled content
5-53 | 4 | Use structural insulated panels (SIPs)
5-54 | 2 | Use insulated concrete forms (ICFs)
5-55 | 1 | Use finger-jointed framing material (e.g. studs)
5-56 | 5 | Use advanced system framing with double top plate
|  | Subtotal | 0
Foundation
5-57 | 1 or 3 | Use at least 90% regionally or locally produced block
5-58 | 3 or 6 | Use regionally produced flyash or blast furnace slag for 25% by weight of cementitious materials for all concrete (20% for flat work), if available
5-59 | 2 | Use recycled concrete, asphalt, or glass cullet for base or fill
|  | Subtotal | 0
Sub-Floor
5-60 | 1 | Use recycled content sub-floor
|  | Subtotal | 0
Doors
5-61 | 2 | Use domestically-grown wood interior doors
|  | Subtotal | 0
Finish Floor
5-62 | 1 | If using vinyl flooring, use product with recycled content
5-63 | 4 | No vinyl flooring
5-64 | 1 | Use any amount of rapidly renewable flooring products made from plants harvested within a ten-year cycle or shorter (excluding carpet)
5-65 | 3 | On more than 250 square feet per unit, use rapidly renewable flooring products made from plants harvested within a ten-year cycle or shorter (excluding carpet)
5-66 | 1 | Use recycled content carpet pad
5-67 | 1 | Use recycled content or renewed carpet
5-68 | 2 or 4 | Use replaceable carpet tile for 50% of carpeted area or 100% of carpeted area
5-69 | 5 | If using tile, use 75% of tile that is 40% recycled content
5-70 | 5 | Use natural linoleum
5-71 | 1 or 3 or 5 | If using wood flooring, use locally salvaged wood flooring on 25%, 50% or 90%+ of total flooring
5-72 | 5 | Use flooring that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-73 | 3 | Use flooring that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-74 | 1 | Use spot repairable floor finish
|  | Subtotal | 0
Interior Walls
5-75 | 4 | Use drywall with a minimum of 90% recycled content gypsum or flue gas substitute for recycled gypsum
5-76 | 2 or 3 | Use recycled or “reworked” paint and finishes on main surfaces or all surfaces
5-77 | 1 | Use recycled newspaper or cork expansion joint filler
5-78 | 2 | Use natural wall finishes, like lime paint and clay
5-79 | 2 | Reduce interior walls through open plan for kitchen, dining and living areas
5-80 | 2 | Install toilet/shower partitions with recycled content
|  | Subtotal | 0
Ceilings
5-81 | 1 | If installing acoustical ceiling, select a recycled content product
|  | Subtotal | 0
Exterior Walls
5-82 | 2 | Use recycled content sheathing (OSB does not apply)
5-83 | 3 | Use exterior cladding with reclaimed or recycled material on at least 20% of solid wall surface
5-84 | 4 | No vinyl siding or exterior trim
5-85 | 3 | Use salvaged masonry brick or block, 50% minimum
5-86 | 2 | Use regionally produced stone or brick
5-87 | 2 | Use 50-year siding product
5-88 | 5 | Use wood siding that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook on at least 20% of solid wall surface
5-89 | 3 | Use wood siding that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook on at least 20% of solid wall surface
|  | Subtotal | 0
Windows
5-90 | 3 | Use wood, composite, or fiberglass windows
5-91 | 4 | No vinyl windows
5-92 | 1 | Use finger-jointed wood windows
5-93 | 2 | Use regionally produced windows
|  | Subtotal | 0
Trim
If using wood trim:
5-94a | 1 | Use regional products, 50% minimum
5-94b | 3 | Use domestic hardwood trim that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-94c | 2 | Use domestic hardwood trim that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-94d | 3 | Use third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-94e | 2 | Use third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-95 | 3 | Use finger-jointed or MDF trim with no added urea formaldehyde, 90% minimum
5-96 | 1 | Use wood veneers that are third-party certified sustainably harvested woods that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-97 | 1 | Use wood veneers that are third-party certified sustainably harvested woods that meets the Tier 2 requirements outlined in the Handbook, 75% minimum
|  | Subtotal | 0
Cabinetry
5-98 |  | For cabinets:
5-98a | 2 | Use regional products, 90% minimum
5-98b | 2 | Use domestic hardwood that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-98c | 1 | Use domestic hardwood that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-98d | 2 | Use third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook, 50% minimum
5-98e | 1 | Use third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook, 50% minimum
5-98f | 2 or 3 | Use cabinet casework and shelving constructed of agricultural fiber (“strawboard” or “wheatboard”) with no added urea formaldehyde for 50% or 90% of all casework
5-99 | 1 | Use resource efficient countertop material in lobby/reception areas
5-100 | 4 | Use countertops that are salvaged, recycled, or third-party certified sustainably harvested wood with a chain of custody in all units
|  | Subtotal | 0
Roof
5-101 | 2 | Use recycled content roofing material
5-102 | 3 | Upgrade material quality and durability (metal is better than torch down)
5-103 | 2 | Use 30-year warranted roofing material
5-104 | 4 | Use 40-year warranted roofing material
5-105 | 6 | Use 50-year warranted roofing material
5-106 | 7 | Use solar shingles
5-107 | 3 | Install a metal roof
|  | Subtotal | 0
Insulation
5-108 | 2 | All insulation to have a minimum of 40% recycled content
5-109 | 3 | Use environmentally friendly foam building products (formaldehyde-free, CFC-free, HCFC-free)
5-110 | 3 | Use backer rod around windows for infiltration sealing
|  | Subtotal | 0
Other Exterior
5-111 | 2 | Use reclaimed or salvaged material for landscaping walls
5-112 | 3 | Use 100% recycled content HDPE, salvaged lumber, or lumber that is third-party certified sustainably harvested wood that meets the Tier 1 requirements outlined in the Handbook for decking and porches
5-113 | 2 | Use 100% recycled content HDPE, salvaged lumber, or lumber that is third-party certified sustainably harvested wood that meets the Tier 2 requirements outlined in the Handbook for decking and porches
5-114 | 2 | Use recycled content lumber for decking (e.g., Trex)
5-115 | 4 | If lumber is used, use no pressure treated lumber
5-116 | 1 | If using pressure-treated lumber, use CAB
|  | Subtotal | 0
EXTRA CREDIT / INNOVATION for Materials Efficiency
5-117 | 1-10 | Extra credit / innovation for Materials Efficiency
|  | Subtotal | 0
|  | MATERIALS EFFICIENCY SECTION TOTALS | 0
|  | PROJECT SCORING TOTAL | 0
PROJECT SUMMARIES
| One | PROGRAM REQUIREMENTS AND CODES / REGULATIONS | X
| Two | SITE & WATER SECTION TOTALS | 0
| Three | ENERGY EFFICIENCY SECTION TOTALS | 0
| Four | HEALTH & INDOOR AIR QUALITY SECTION TOTALS | 0
| Five | MATERIAL EFFICIENCY SECTION TOTALS | 0
_______________________Total Points for Project
Program Level Obtained
o 2-Star êê o 3-Star êêê
o 4-Star êêêê o 5-Star êêêêê
By my signature, I certify that I have performed all Action Items checked above.
X________________________________________________________
(Home Builder Signature and Date)