## BG Total Water Use Model
Total Water Use Modeling Worksheet
Form Last updated: October 13, 2023
Builder:
Project Address:
Date of Modeling:
House Size Sq. Ft. |  |  | Landscaping Sq. Ft.
# of Bedrooms
Indoor Water Use
Baseline Indoor Water Use
Fixture | Estimated fixture usage per day |  | Flush or Flow Rate (Gallons) |  | Gal/person/day
Toilet | Flushes | 5.5 | per Flush | 1.6 | 8.8
Showerheads | Minutes (.75 showers/day) | 7.8 | per Minute | 2.5 | 19.5
Faucets - Bathroom | Minutes | 2 | per Minute | 1.2 | 2.4
Faucets - Kitchen | Minutes | 4 | per Minute | 2.2 | 8.8
Washing Machine | Loads per day (2.6 loads/7 days) | 0.37143 | per Load | 20 | 7.4286
Dishwasher | Cycles per day (.7 loads/7 days) | 0.1 | per Cycle | 6.5 | 0.65
Leaks (toilet flappers, drips, etc) | per Day | 1 | Gallons | 4.4 | 4.4
Other (cleaning etc) | per Day | 1 | Gallons | 1.5 | 1.5
|  |  |  | Total | 53.4786
Conserved Indoor Water Use | [6 empty] | Instructions
Fixture | Estimated fixture usage per day |  | Flush or Flow Rate (Gallons) |  | Gal/person/day |  | Input fields are colored and highlighted with thick borders
Toilet | Flushes | 5.5 | per Flush | 0 | 0 |  | Enter GPF from toilet product specs. Use calculated average of dual flush rates.
Showerheads | Minutes (.75 showers/day) | 7.8 | per Minute | 0 | 0 |  | Enter GPM flow rate based on water testing
Faucets - Bathroom | Minutes | 2 | per Minute | 0 | 0 |  | Enter GPM flow rate based on water testing
Faucets - Kitchen | Minutes | 4 | per Minute | 0 | 0 |  | Enter GPM flow rate based on water testing
Washing Machine [*see resources below] | Loads per day (2.6 loads/7 days) | 0.37143 | per Load | 0 | 0 |  | Enter gallons/load, see resources below. If none installed enter 20 gallons
Dishwasher | Cycles per day (.7 loads/7 days) | 0.1 | per Cycle | 0 | 0 |  | Enter gallons per "standard" or "normal" cycle from product specs
Leaks (toilet flappers, drips, etc) | per Day | 1 | Gallons | 0 | 0 |  | No detactable leaks are permitted
Other (cleaning etc) | per Day | 1 | Gallons | 1.5 | 1.5
Hot Water Recirculation - Faucets | Minutes | 0 | per minute (Negative #) | -1.16 | 0 |  | If installed enter 1
Hot Water Recirculation - Showers | Minutes (.75 showers/day) | 0 | per minute (Negative #) | -1.36 | 0 |  | If installed enter 1
|  |  |  | Total | 1.5
Indoor Potable Water Savings via Rainwater Catchment
Required Tool: Washington Department of Ecology Rainwater Harvesting Calculator
Fixture | Estimated Fixture Usage per Day |  | Flush or Flow Rate (Gallons) |  | Gal/person/day
Rainwater for Toilet | Flushes | 5.5 | per Flush | 0 | 0 |  | Enter GPF from toilet product specs for fixtures supplied by captured rainwater
Rainwater for Washing Machine | Loads per Day (2.6 loads/7 days) | 0.37 | per Load | 0 | 0 |  | Enter gallons/load for clothes washing machines supplied by captured rainwater
|  |  |  | Total | 0
Enter # of Bedrooms per Home |  | 0
Expected # of Occupants for Home Size |  | 1.09 | Houshold Gallons per Day | 0 |  |  | <-Enter Household Gallons/day # into cell H7 on WA-DOE Rainwater Harvesting Calculator
Total Houshold Annual Desired Use | [WA-DOE Harvesting Calculator] | 0 |  |  |  |  | Enter cell H21 from WA-DOE worksheet in "Data Entry" tab
Total Houshold Annual Actual Use | [WA-DOE Harvesting Calculator] | 0 |  |  |  |  | Enter cell G21 from WA-DOE worksheet in "Data Entry" tab
Average Daily Rainwater Use | per Household | 0
Average Daily Rainwater Use | per Person | 0
Indoor Water Use |  |  | Gallons/person/day |  | 1.5
Rainwater Use |  |  | Gallons/person/day |  | 0
Total Indoor Potable Water Use | [Indoor - Rainwater Use] |  | Gallons/person/day |  | 1.5
Total Annual Indoor Water Use |  |  | Gallons/Year |  | 596.775
Percentage of Total Indoor Water Use Reduction |  |  |  |  | 97.2% |  | Minimum 30% reduction for total indoor water use
Outdoor Water Use
EPA Outdoor Water Baseline | [EPA Water Budget - Gallons/mth] | [5 empty] | <-After filling in project address and landscaping information, enter the Monthly baseline from cell L13 on "Data Entry" tab
Required Tool: EPA WaterSense Water Budget Tool |  |  | Gallons/day* |  | 0
EPA Landscape Water Requirement | [EPA Water Budget - Gallons/mth] | [5 empty] | <-Enter the LWR from Step 3A on "Results" tab
Required Tool: EPA WaterSense Water Budget Tool |  |  | Gallons/day* |  | 0 |  | Note: food production area to be excluded from outdoor water use calculations
Percentage of Outdoor Water Use Reduction |  |  |  |  | #DIV/0! |  | *Peak watering months are considered June-September (modeled on peak month of July), converted to annual per day to align with outdoor greywater use
Outdoor Potable Water Savings via Greywater/Rainwater Catchment
Required Tool: Washington Department of Ecology Rainwater Harvesting Calculator
Fixture | Estimated Fixture Usage per Day |  | Flow Rate (Gallons) |  | Gal/day
Rainwater for irrigation | Gallons [WA-DOE Outdoor use] | 0 | # of occupants | 1.09 | 0 |  | Enter cell G22 from WA-DOE worksheet in "Data Entry" tab
Greywater for irrigation (Bath faucets) | Mintues | 2 | per Minute | 0 | 0 |  | Enter GPM from bath faucets directed to greywater irrigation system
Greywater for irrigation (Kitchen faucet) | Mintues | 4 | per Minute | 0 | 0 |  | Enter GPM from Kitchen faucets directed to greywater irrigation system
Greywater for irrigation (shower) | Minutes | 7.8 | per Minute | 0 | 0 |  | Enter GPM from showers directed greywater irrigation system
Greywater for irrigation (laundry) | Loads per Day (2.6 loads/7 days) | 0.37 | per Load | 0 | 0 |  | Enter gallons/load from laundry directed to greywater irrigation system
|  |  |  | Total | 0
Total Outdoor Potable Water Use | [LWR - Grey/Rainwater Use] |  | Gallons/day |  | 0
Total Annual Outdoor Potable Water Use |  |  | Gallons/year |  | 0
Percentage of Total Outdoor Water Use Reduction |  |  |  |  | #DIV/0! |  | Minimum 30% reduction for total outdoor water use
Total Water Use Reduction
Percentage of Total Indoor Water Use Reduction |  |  |  |  | 97.2% | 60%
Percentage of Total Outdoor Water Use Reduction |  |  |  |  | #DIV/0! | 40%
Built Green Total Water Use Reduction (weighted average) |  |  |  |  | #DIV/0! |  | <--Use this weighted average to determine points from Credit 2-51 Points Breakdown
Minimum required: 30% (3-Star), 40% (4-Star), 50% (5-Star)
*Washing Machine Water Consumption Resources:
Option 1 for EnergyStar Appliances:
Calculate Water per Load: Annual Water Use [see EnergyStar Database] / 295 = Gallons per Load
Option 2 for all other appliances:
Calculate Water per Load: Integrated Water Factor (IWF)* Cubic Volume of washer = Gallons per Load
EnergyStar Washing Machine Database